## Titer Calculator
STANDARD CURVE |  |  |  |  | UNKNOWN VIRUS SAMPLES
Ct Duplicate 1 | Ct Duplicate 2 | Ct Average | Dilution | Titer (GC/ml) | Sample Name | Ct Duplicate 1 | Ct Duplicate 2 | Ct Average | Titer (GC/ml)
20.52 | 20.52 | 20.52 | 1/100 | 2000000000 | Virus 1 | 7.28 | 8.06 | 7.67 | 4.746e+13
23.67 | 23.71 | 23.69 | 1/1000 | 200000000 | Virus 2 | 15.26 | 15.82 | 15.54 | 99665800116.8648
26.53 | 25.45 | 25.99 | 1/10000 | 20000000 | Virus 3 | 22.17 | 22.31 | 22.24 | 523430697.8185
29.53 | 29.57 | 29.55 | 1/100000 | 2000000 |  |  |  | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
[8 empty] | #DIV/0! | #DIV/0!
|  | G931 | [5 empty] | #DIV/0! | #DIV/0! |  |  | Virus Control
|  | Titer Calculator | [5 empty] | #DIV/0! | #DIV/0! |  | ct1 | 16.92
[8 empty] | #DIV/0! | #DIV/0! |  | ct2 | 17.04
[11 empty] | avg | 16.98
y = mx + b
[7 empty] | SLOPE AND Y-INTERCEPT |  |  |  | m = | -1.349
[7 empty] | y = mln(x) + b |  |  |  | b | 37.792
[7 empty] | m = | -1.2764
[7 empty] | b = | 47.8647
[7 empty] | R2 = | 0.9939 |  | Virus control |  | 2.107e-13 | GC/ul
[12 empty] | 2.107e-12 | IU/ml
Instructions:
[7 empty] | 1) Fill out Yellow Highlighted Ct Values |  |  |  |  | 2.107e-12
2) Titer is automatically calculated
[7 empty] | 3) Adjust titer if you diluted virus sample |  |  |  | RESULT | 1.342e-17% | MORE than original titer
for the titer assay, performed DNase I
treatment, or viral lysis.
eg. Titer x 100 (virus dil.) x 10 (DNaseI dil.)
x 10 (lysis dil.)
y = mx + b
[11 empty] | m = | 1.167
[11 empty] | b | 33.881
[10 empty] | Virus control |  | 1948233.4374 | GC/ul
[12 empty] | 19482334.3741 | IU/ml
[12 empty] | 19482334.3741 | IU/ml
[11 empty] | RESULT | -24.09% | loss of original titer
y = mx + b
[11 empty] | m = | 1.391
[11 empty] | b | 36.824
[10 empty] | Virus control |  | 1569073.2032 | GC/ul
[12 empty] | 15690732.0315 | IU/ml
[12 empty] | 15690732.0315 | IU/ml
[11 empty] | RESULT | 0.05903% | loss of original titer
Original titer = 1.57E+07
Titer should only drop ~10-20% with each freeze thaw.
Use QUBIT to determine concentration of stock.